## Slide 1: ATMS Instrument Performance Monitoring Report
Li Bi, Ninghai Sun, Fuzhong Weng, Tsan Mo
NOAA/NESDIS/STAR
13 January 2012

## Slide 2: Outline
STAR ATMS Cal/Val Flow
ATMS Long-term Instrument Trending System Overview
  Introduction and available products
ATMS TDR Bias Monitoring System Overview
  Evaluation methods and available products
ATMS TDR comparison with NOAA-18 AMSU-A
Initial look of remapped ATMS SDR vs. ATMS TDR
Future work

## Slide 3: STAR ATMS Cal/Val Flow
ATMS
RDR (GRAVITE)
ATMS
SDR (GRAVITE)
CrIS
SDR (GRAVITE)
ECMWF
(EC)
GDAS/GFS (NCEP)
TLE/SNOs
STAR Storage
Long-term Instrument Performance Trending System
Long-term Bias Monitoring System
Input Radiometric Counts, PRT Counts, Coefficients
Compute Average Temp for Hot Target over Np scans
Compute Apparent code Space TB
Statistic data
+ real time plots
Compute Average Hot/Cold Counts over Nc Scans
TDRs
SDRs
Antenna pattern correction
Cross-track bias correction
Nonlinear estimation
Quadratic correction
Backus-Gibbert remapping
Remapped SDRs
EDR algorithm
Instrument cross-calibration
Fundamental Climate Data Records (FCDR)
Level-II CDRs
Climate application
NWP application
ATMS/CrIS SDRs
TLE/SNOs+DD
RDRs
STAR Instrument Performance Monitoring Suite (IPMS) Storage
SDRs+NWP
Compute Hot Target PRT temp
Compute Target TBs (bias correction)
Compute Scene TBs

## Slide 4: Long-term Instrument Performance Trending System
Capability of monitoring different calibration parameters in real-time

## Slide 5
Available Products from ICVS System
ATMS Channel NEdT
ATMS Channel Gain
ATMS Health/Status Analog Parameters (35 Index)

## Slide 6
ATMS Cold Calibration Target Count
ATMS Warm Calibration Target Count
Available Products from ICVS System (Cont’d)

## Slide 7
Available Products from ICVS System (Cont’d)
STAR ICVS System has the capability of monitoring NPP CrIS/VIIRS/OMPS

## Slide 8: Long-term Bias Monitoring System
GOAL: To provide real-time/long-term bias monitoring for instrument performance evaluation

## Slide 9: Bias Monitoring Package Introduction
Goal: To provide real-time/long-term instrument bias monitoring for instrument performance evaluation
Instrument bias monitoring test using real-time ATMS TDR data has been performed.
The JCSDA Community Radiative Transfer Model (CRTM) is used.
  Temperature/moisture profiles are obtained from the NCEP Global Data Assimilation System (GDAS)
Clear Sky identification
  Physical Cloud Liquid Water Path retrieval algorithm applied to identify clear sky (Weng et al., 2003)
  CLW < 0.05 is considered as clear sky

## Slide 10
Evaluation Methods
ATMS TDR Bias O-B at Each Channel
  Over ocean (55 ON ~ 55 OS)
  Clear sky
  Ascend/Descend separated
ATMS TDR Angular Dependent Bias O-B at Each FOV
  Over ocean (55 ON ~ 55 OS)
  Clear sky
  Ascend/Descend separated

## Slide 11
ATMS Ch4 Bias Time Series Over Ocean Clear Sky
Available Products from Bias Monitoring Package

## Slide 12: ATMS TDR Cross-Track Asymmetry
Angular dependent bias (A-O) Dec, 16-22, 2011
Offline study, courtesy of Tong Zhu

## Slide 13
Clear Sky Identification
Physical Cloud Liquid Water Path retrieval algorithm applied to identify clear sky (Weng, et al., 2003)
CLW < 0.05 is considered as clear sky

## Slide 14
AMSU-A FOV
ATMS
NOAA-18 AMSU-A
Tropic Ocean: -20S to 20N
Comparison with NOAA-18 AMSU-A
ATMS mean TDR temperature at each FOV is consistent with NOAA-18 AMSU-A

## Slide 15
ATMS Observation Ch.1 Ascending
ATMS Observation Ch.1 Descending
NOAA 18 AMSU-A Observation Ch.1 Ascending
NOAA 18 AMSU-A Observation Ch.1 Descending
ATMS TDR show nice global coverage with less data gap

## Slide 16
ATMS Observation Ch.2 Ascending
ATMS Observation Ch.2 Descending
NOAA 18 AMSU-A Observation Ch.2 Ascending
NOAA 18 AMSU-A Observation Ch.2 Descending

## Slide 17
Initial look of ATMS TDR vs. REMAPPED SDR
ATMS TDRs are warmer than ATMS remapped SDRs

## Slide 18: Future Work
Improve cloud identification algorithm
Quantify scan asymmetry bias
Verify operational TDR to SDR conversion coefficients
Assessment of intercalibration between ATMS and NOAA-19 AMSU-A
Evaluate ATMS remapped SDR vs. ATMS TDR
Continue update current bias monitor package
  Test high resolution background input for RT simulation
  Provide more bias monitoring parameters to the package