VIIRS LST EDR Release, Beta Data Quality

Last Updated: 12/19/2012

Read-me for Data Users

The Joint Polar Satellite System (JPSS) Algorithm Engineering Review Board approved the release of the Visible Infrared Imager Radiometer Suite (VIIRS) Land Surface Temperature (LST) Environmental Data Record (EDR) to the public with a Beta level quality as of Aug 10, 2012.  Beta quality is defined as:

- Early release product

- Initial calibration applied

- Minimally validated and may still contain significant errors (additional changes are expected)

- Available to allow users to gain familiarity with data formats and parameters

- Product is not appropriate as the basis for quantitative scientific publications, studies and applications

The Board recommends that users be informed of the following product information and characteristics when evaluating the VIIRS LST EDR.

- Product status:

  - The beta version VIIRS LST EDR is based upon two regression algorithms: a split window (SW) algorithm that applies data of VIIRS thermal infrared bands M15 and M16 centered at wavelength 10.8 m and 12.0 m, respectively, and a dual-split window (DSW) algorithm that applies additional two shortwave infrared bands M12 and M13 centered at wavelength 3.75 m and 4.0 m, respectively. Before August 10, 2012, the DSW is performed as baseline algorithm for the LST production; after then, the SW is performed as baseline algorithm for the LST production.

  - The algorithm coefficients are clarified by 17 surface types defined by the international Geosphere-Biospher Programme (IGBP), as well as day (0o ≤ Solar Zenith Angle ≤ 85o) and night conditions for each surface type.

  - The LST values are available for those pixels with cloud confidences of “confident clear”, “probably clear”, and “probably cloudy”.

  - A 3-byte quality flags (QAs) set is provided for each LST retrieval. The QA information includes :

    - byte 1: LST quality, algorithm, day/night, input SDR quality

    - byte 2: within  LST measurement range (or not), cloud indicator, AOT condition, sun glint

    - byte 3: land/water background, surface type

Users may refer the QA information for their applications.

  - The measurable LST value range is from 183.2 K to 350 K.

- Product evaluation:

Overall performance of the Suomi NPP VIIRS LST product is fairly good. The internal evaluation on the quality flag, maps, geolocation etc reveals no significant problems with upstream SDR, EDRs and IPs.  The preliminary results from external evaluations including inter-comparison with MODIS Aqua, validation against ground truth data and near real time monitoring of LST product indicate that the LST production is working fine. However, significant seasonal inconsistency is observed which maybe because of the algorithm surface type dependency feature, which increases the concern of the considerable spectral variation in emissivity for different land surface type and emissivity variation within a surface type. More work is needed to further improve the LST product.

- Known errors:

- Snow/ice indicator needed in the LST production is a combination acquired from the quarterly surface type EDR (for “permanent snow”) and daily snow EDR (for “temporal snow”). Since the snow EDR is only available for daytime, the nighttime temporal snow cannot be flagged. Snow/ice team is working on it for providing nighttime snow cover information as well.

- Before August 10, 2012, there is a miss-order issue in the LST coefficient Look-up table (LUT), for the DSW algorithm: the 17 IGBP surface types listed in the LUT is not the order as listed in the surface type EDR, resulting a coefficients set for certain surface type maybe applied to other surface type pixels. The problem does not occur to those pixels the LST is derived using SW algorithm. The problem has been corrected after August 10, 2012.

Additional information on VIIRS and Land Surface Temperature   algorithm theoretical basis document (ATBD) are available at

http://www.star.nesdis.noaa.gov/jpss/ATBD.php

The VIIRS SDR Read-me for Beta Data Quality is also available at the CLASS Homepage.

Point of Contact

Yunyue Yu

JPSS VIIRS Land Surface Temperature EDR Lead

Email: yunyue.yu@noaa.gov

Phone: 301-683-2566