## ATMS
| RDR | TDR | SDR | rSDR
Validated Version | ATMS |  |  |  | Explanation for the Provisional Maturity Assessment
On-orbit sensor performance characterized and calibration parameters adjusted accordingly | N/A | TRUE | TRUE | TRUE | Beam efficiency and scan dependent bias correction are implemented TDR/SDR/rSDR QF and S/C maneuver flags are checked and updated Radiometric calibration algorithm is refined. PCT (calibration parameters) and DQTT (data quality threshold table) are updated.
There may be later improved version | N/A | TRUE | TRUE | TRUE | Optimization of the TDR to SDR beam efficiency and scan dependent bias correction willl be updated after antenna emission is characterized
There will be strong versioning with documentation | N/A | TRUE | TRUE | TRUE | Quality flag check code update and PCT update are in version control. Any update has been verified both in ADL and G-ADA before submission.
Ready for use in applications and scientific publication | N/A | TRUE | TRUE | TRUE | ATMS TDR/SDR/rSDR data are available on CLASS for the public and NDE is distributing ATMS TDR data to NWP users.The team has been responding to the QA issues from the users since the product was released to the public.

## CrIS
| RDR | TDR | SDR | rSDR
Validated Version | CrIS |  |  |  | Explanation for the Validated Maturity Assessment
On-orbit sensor performance characterized and calibration parameters adjusted accordingly | N/A |  | TRUE |  | (1) Instrument noise performance and SDR uncertainties of spectral calibration, radiometric calibration and geolocation calculation have met requirements (2) SDR processing software has been stable and free of major errors (errors impact data quality) since 11/14/2013 (Mx8.0) (3) Instrument and SDR performances have been well characterized and documented in 6 published peer-review Journal papers, 5 presentations in this review meeting, SDR ATBD and SDR User Guide.
There may be later improved version | N/A |  | TRUE |  | Both SDR sofware and calibration parameters will be updated on 20 February 2014 with Mx8.1 and Engineering packet v36, respectively, tp improve the ILS (instrument line shape) and NL (nonlinearity) corrections.
There will be strong versioning with documentation | N/A |  | TRUE |  | (1) Calibration parameters (e.g. ILS parameters and nonlinearity coefficients) are in version control as part of the Engineering packet (EngPkt) which has a version number. (2) Currently the SDR version number is identical with the IDPS build number (e.g. MX 8.0 is the current build number) (3) Updates for EngPkt and IDPS build are well documented
Ready for use in applications and scientific publication | TRUE |  | TRUE |  | UK MetOffice and NOAA/NCEP have been assimilating CrIS SDR data since 30 April 2013 and 20 August 2012, respectively. Both RDR and SDR data are available on CLASS for the public

## VIIRS
| RDR | TDR | SDR | rSDR
Validated Version | VIIRS |  |  |  | Explanation for the Provisional Maturity Assessment
On-orbit sensor performance characterized and calibration parameters adjusted accordingly | TRUE |  | TRUE |  | Radiometric calibration is not optimal due to RTA degradation, which also affects the Spectral calibration being not optimal. Geolocation is near optimal except for DNB band and shortly after a manuever.
There may be later improved version | TRUE |  | TRUE |  | Improvements are still being made with MX updates, in such areas as flags and software fixes. RSB calibration is continuously updated, and closely monitored with feedback from the EDR users.
There will be strong versioning with documentation | TRUE |  | TRUE |  | Calibration parameters are in version control although more transparency and easy access is desirable.
Ready for use in applications and scientific publication | TRUE |  | TRUE |  | VIIRS SDR data are available on CLASS for public access The VIIRS SDR team has been responding to inquiries and QA issues from the users worldwide since the product was released to the public.

## OMPS
| RDR | RDR | TDR | SDR | rSDR
Validated Version |  | OMPS |  |  |  | Explanation for the Provisional Maturity Assessment
On-orbit sensor performance characterized and calibration parameters adjusted accordingly |  | N/A |  | TRUE |  | Correct for errors in smears (DR 4818) Correct for stray light (DR 4907)
There may be later improved version |  | N/A |  | TRUE |  | Update Darks LUT to correct for CCD degradation (DR 4799 & 4879)
There will be strong versioning with documentation |  | TRUE |  | TRUE |  | Software version follows IDPS build number (currently MX 6.3). Operation status is track at the Satellite Operation Center (SOC, http://ozoneaq.gsfc.nasa.gov/omps).
Ready for use in applications and scientific publication |  | TRUE |  | TRUE |  | Available from CLASS since March 12, 2012.
Users are urged to consult the SDR product status documents prior to use of the data in publications |  | N/A |  | TRUE |  | A Readme file will be provided with the Provisional Release, as did with Beta Release, that contains the known caveats
Ready for operational evaluation |  | N/A |  | TRUE |  | ATBD is up to date and calibration uncertainty will meet the requirements.