VIIRS Non-NCC Imagery EDR Release, Provisional Data Quality

Feb 08 2013

Read-me for Data Users

The JPSS Algorithm Engineering Review Board released the VIIRS Non-Near Constant Contrast (NCC), Imagery Environmental Data Records to the public with a Provisional level maturity on 18 Jan 2013. Provisional quality is defined as:

- Product quality may not be optimal

- Incremental product improvements still occurring

- Version control is in effect

- General research community is encouraged to participate

- Users urged to consult the EDR product status

- Ready for operational evaluation

The Board recommends that users be informed of the following product information and characteristics when evaluating the VIIRS Non-NCC Imagery EDR.

- The VIIRS Imagery EDR comprises all 5 I-bands, 6 of the 16 M-bands, and the Day Night Band (DNB).  The DNB is a special case, where the Imagery produced is referred to as Near Constant Contrast (NCC).  NCC Imagery contains additional processing and therefore is considered independent of the other Imagery products.  This memorandum applies only to the non-NCC, Imagery EDRs.

- CLASS only archives the I-band and NCC Imagery EDRs.  It does not archive any Imagery created from the M-bands.  The Imagery derived from the M-bands was agreed to after requirements had been established for what the program was expected to produce and deliver to CLASS.  Although this additional Imagery is quite useful for identifying atmospheric and surface features, there was no need foreseen to have it archived, and that remains the case today.

- The Imagery EDR algorithm processes VIIRS SDRs and transfers radiance/reflectance/brightness temperature values on as Ground Track Mercator (GTM) projection. GTM uses the nearest pixel rather than an average of the surrounding pixels, unless an isolated pixel has a bad value.

- Radiometric accuracy and sufficient geolocation, covered by the VIIRS SDR team, are prerequisites for Imagery to attain Provisional data quality.  Both are acceptable as of January 18, 2013.  There are no known issues for either radiometric accuracy or geolocation that negatively impact non-NCC Imagery.

- The current capability of the Imagery EDR is at qualitatively well characterized. Quantitative assessments are planned, but for the sake of attaining Provisional, a qualitative analysis is more than sufficient.  No serious artifacts are present in the VIIRS non-NCC Imagery EDR, and qualitative analysis of the associated geolocation has also revealed no issues. The remaining areas of concerns are as follows:

- Minor striping has been reported either under extreme enhancement or in some cases where channel differences are produced. The overall impact is minor at most, and under typical use, striping is not noticeable in non-NCC Imagery.

- The majority of issues relating to Imagery have to do with data availability rather than actual sensor/algorithm performance.  The use of imagery is of greatest interest to real-time users, but access to imagery in short time frames (less than two hours) is currently limited.  Like all other products, Imagery EDRs from CLASS are not available until 6+ hours after creation.

- Additional Items to note:

- Instrument and spacecraft maneuvers and tests:  maneuvers and special tests are still being performed on-orbit to better characterize the VIIRS instrument performance.  These include but are not limited to the monthly lunar maneuver, quarterly blackbody WarmUp CoolDown (WUCD) tests.  During such events, the VIIRS Imagery EDRs will not be optimal, and may not be useable. Data users are encouraged to contact the VIIRS SDR team if any related issues arise.

- The VIIRS VisNIR band degradation has no negative impact on the non-NCC Imagery EDRs. See VIIRS SDR readme for details on this anomaly.

- When displaying adjacent Imagery EDR granules, lines of fill will be noted between the granules.  This is expected and not an error, these lines of fill exist to ensure the file size of the Imagery EDR product remains constant, even though the number of Ground Track Mercator rows varies from granule to granule.  It is up to the user to remove these lines if desired.

- The next step in the Non-NCC Imagery EDR validation process is the move to operational stage 1 status, which depends on three factors:  1) the advancement of VIIRS SDRs to operational stage 1, 2) feedback from operational users, and 3) more specific analyses targeting specific phenomena (e.g. fog, sea ice edge).  Further multi-spectral analysis is also planned.  The Imagery EDR Cal/Val team believes the non-NCC Imagery is rapidly approaching operational stage 1 status.

Additional information on VIIRS, algorithm theoretical basis documents (ATBDs), and examples of VIIRS Imagery are available at

http://rammb.cira.colostate.edu/projects/npp/

Point of Contact

Bonnie Reed

JPSS-DPA EDR Lead

Bonnie.Reed@nasa.gov

240 684-0475